Fall 2000

Instrumental Methods of Analysis

Exam II

Rules of the Game:	You may consult any inanimate source that you wish, excluding the exam paper of a colleague or their lab/lecture notes.  The exam is due next Thursday at the beginning of class unless alternative arrangements have been cleared with me.

1.	For the compounds shown below one is a colorimetric analytical reagent for metals and the other is a fluorimetric analytical reagent for metals.

Each sub-problem = 3 points

Question 1 = total 57 points)

Compound “A”		Compound “B”

a.	which is the colorimetric reagent for metals (best analyzed by UV-Vis)?

In the absence of metal

I.	What part of the compound is giving rise to the absorption event?

II.	Is the absorption event likely to be π→π*, σ→σ*, or n→π* , other (define). Be specific, draw the molecule and point to the part that is giving rise to the event.

III.	About what λ would you be looking for the transition?

IV.	If you use a monochromator with a 2000 groves per mm and a  45o angle of incidence, at what angle of reflection will you find your (based on 1.a.III) desired excitation wavelength?

V.	Are solubility and phase changes important parts of the functioning of this compound?

In the presence of metal

VI.	How does the compound “report” the presence of the metal?

VII.	What will be interferences for the measure of, say, lead, by this reagent?

B.	Which compound is the fluorimetric reagent for metals?

In the absence of a metal

I.	Which part of the compound is giving rise to the absorption event?

II.	Is the absorption event likely to be π→π*, σ→σ*, or n→π* .or other (define).  Be specific, draw the molecule and point to the part that is giving rise to the event.

III.	About what λ would you be looking for the transition?

IV.	If you use an excitation monochromator with 1500 grooves/mm grating and a 45o angle of incidence at what angle of reflection will the exiting beam need to be to excite your molecule?  (Use your answer B.III.).

V.	What other wavelengths are passed through the excitation monochromator?

In the presence of a metal

VI.	Does fluorescence increase or decrease on binding of the metal?

VII.	Why?

VIII.	Will the absorption event in the presence of the metal take place at the same wavelength as in the absence of the metal?

IX.	About what λ would you be looking for fluorescence.  Give me a numerical answer as in shifted red (long) by 123 nm or shifted blue (short) by 123 nm.

X.	Draw me a spectrum of all the wavelengths that might arrive at the detector.

XI.	How will you configure the instrument to collect the emission and why?

XII.	What features of this molecule may contribute to it’s fluorescence, or to its decreased fluorescence?  Write me the equation for its quantum yield and relate each of the parameters to the structure of the molecule.

2.	All of the below relate to making IR measurments

32 points (16 points each sub-question)

A.	In IR we were unable to make quantitative measurements of lead.  One reason is spectral window, another is background, a third is inherent response.  Elaborate on these three reasons, please.

B.	How does IR instrumentation differ from that of UV-Vis instrumentation?

3.	A.	The maximum measureable absorbance for an instrument with 4.5% stray light is?

11 pt.	B.	If a sample would give a “true” absorbance of “1" on an instrument with 0% stray light what is the measured absorbance for the instrument in “A”?